## Original Order
U.S. Engineering Plumbing Fixture Labor Hours
FIXTURES
Water Closets | 2.25
Single WC Carrier | 1.25
Double WC Carrier | 1.75
Water Closet w/ Bed Pan Wash | 2.5
Urinal | 3
Urinal Carrier | 1.25
Lavatory (Wall Hung) | 2.5
Lavatory Carrier | 1
Lavatory (Counter Mount) | 2.5
Single Compartment Sink (Counter Mount) | 2.5
Double Compartment Sink (Counter Mount) | 2.75
Triple Compartment Sink (Counter Mount) | 3
Garbage Disposal | 0.5
Bath Tub (tub only) | 3
Shower - Valves & Head Only | 1.25
Shower - Valves, Head & Base | 5
Add for ADA Shower | 1.75
Service Sink (Floor) | 4
Mop Sink | 4
Service Sink w/ Trap | 4
Electric Water Cooler Single | 4
Electric Water Cooler Dual | 6
Electric Water Cooler Dual w/ Bottle Filler | 5
Remote Condenser for Water Cooler | 4
Wash Fountain (Semi-circular) | 8
Floor Sink | 1.5
Emergency Eyewash | 1.5
Emergency Shower | 3
Recessed Emergency Shower | 4
Wall Hydrant | 1
Roof Hydrant/Yard Hydrant | 1.5
Hose Bibb | 1
Wall Box (Ice Maker/Clothes Washer) | 1
Acid Neutralization Bin (undersink) | 1.5
Gas Turret | 0.5
Clinical Service Sink | 6
Hose Reel | 2.5
Dialysis Box | 1.5
DRAINS & FCOs
FCO/Grade Clean-out | 1
Grade Clean-out w/ Concrete Pad | 2
Trench Drain | 0.66/ft
DSN - 2-4" | 1
DSN - 6-10" | 1.25
Scullery Sink
Floor Drain 2", 3", 4" | 1.25
Trap Primer | 0.25
Trap Guard | 0.25
Plaster Trap | 1.5
Roof Drains - 2", 3", 4" | 1.5
Roof Drains - 6", 8", 10" | 1.75
Combination RD/OD | 2
Drain Flashing | 1.25
Lead Roof Flashing - 2", 3" | 1.25
Lead Roof Flashing - 4" | 1.5
Lead Roof Flashing - 5", 6" | 1.75
VALVES & ACCESSORIES
Air Admittance Valve | 0.5
Air Admittance Valve w/ Box | 1.5
Solenoid/Control Valve | 0.5
Shock Absorbers 3/4" 1# | 0.36
Shock Absorbers 1" 2# | 0.38
Shock Absorbers 1" 3# | 0.38
Shock Absorbers 1" 4# | 0.38
Relief Valves | 0.5
Aquastat | 0.5
Thermometer | 0.35
Pressure Gauge | 0.35
Access Panel | 0.1
Roof Support (small) | 1
Roof Support (large) | 2
EQUIPMENT
Water Heater - 40 gallon | 3
Water Heater - 60 gallon | 4
Water Heater - 100 gallon | 8
Insta hot | 1
RPBP - 4"-6"" | 8
RPBP - 2-1/2"-3" | 4
RPBP - 2" | 2
RPBP - 3/4"-1" | 1
Coffee Maker/Juice Maker BFP | 0.5
Ice Maker BFP | 0.75
Sump Pump w/ Oil Minder (Elevator) | 6
Sump Pump (Duplex) | 16
Sump Pit | 16
Water Softener | 16
Grease/Sand Oil Interceptor - 1500 gallon | 32
Grease/Sand Oil Interceptor - 2500 gallon | 32
Grease/Sand Oil Interceptor - 4000 gallon | 40
Point of use grease interceptor | 6-8
PRV 1/2" | 0.25
PRV 1" | 0.35
Mixing Valve - 1/2" | 0.5
TMV 1/2"-1" | 0.75
TMV 1-1/2"-2" | 1.25
Master Mixing Valve | 4
DI/RO Equipment | 40
Domestic Booster Pump | 16
Air Compressor | 12
Domestic Expansion Tank (1-10 gallon) | 1.5
Domestic Expansion Tank (11+ gallon) | 4
Circulation Pump | 3
Main Building Water Meter | 4
Water Meter | 1
MEDICAL GAS
MG Outlet | 0.35
Vacuum Slide | 0.15
Zone Valve Box 4 gas & less | 1.5
Zone Valve Box 5-8 gases | 3
Area Alarm Panel | 1
Master Alarm Panel | 1.25
Emergency Oxygen Connection | 1.5
Nitrogen Control Panel | 1
Med Gas Manifold | 4
Medical Vacuum Pump | 16
Medical Air Compressor | 16-24

## Sheet2 (hidden)
U.S. Engineering Plumbing Fixture Labor Hours
FIXTURES
Water Closets | 2.25
Single WC Carrier | 1.25
Double WC Carrier | 1.75
Water Closet w/ Bed Pan Wash | 2.5
Urinal | 3
Urinal Carrier | 1.25
Lavatory (Wall Hung) | 2.5
Lavatory Carrier | 1
Lavatory (Counter Mount) | 2.5
Single Compartment Sink (Counter Mount) | 2.5
Double Compartment Sink (Counter Mount) | 2.75
Triple Compartment Sink (Counter Mount) | 3
Garbage Disposal | 0.5
Bath Tub (tub only) | 3
Shower - Valves & Head Only | 1.25
Shower - Valves, Head & Base | 5
Add for ADA Shower | 1.75
Service Sink (Floor) | 4
Mop Sink | 4
Service Sink w/ Trap | 4
Electric Water Cooler Single | 4
Electric Water Cooler Dual | 6
Electric Water Cooler Dual w/ Bottle Filler | 5
Remote Condenser for Water Cooler | 4
Wash Fountain (Semi-circular) | 8
Clinical Service Sink | 6
Floor Sink | 1.5
FCO/Grade Clean-out | 1
Grade Clean-out w/ Concrete Pad | 2
Floor Drain 2", 3", 4" | 1.25
Trench Drain | 0.66/ft
Emergency Eyewash | 1.5
Emergency Shower | 3
Recessed Emergency Shower | 4
DSN - 2-4" | 1
DSN - 6-10" | 1.25
Plaster Trap | 1.5
Roof Drains - 2", 3", 4" | 1.5
Roof Drains - 6", 8", 10" | 1.75
Combination RD/OD | 2
Drain Flashing | 1.25
Lead Roof Flashing - 2", 3" | 1.25
Lead Roof Flashing - 4" | 1.5
Lead Roof Flashing - 5", 6" | 1.75
Wall Hydrant | 1
Yard Hydrant/Roof Hydrant | 1.5
Hose Bibb | 1
Shock Absorbers - 3/4" 1# | 0.36
Shock Absorbers - 1" 2# | 0.38
Shock Absorbers - 1" 3# | 0.38
Shock Absorbers - 1" 4# | 0.38
Relief Valves | 0.5
Aquastat | 0.5
Thermometer | 0.35
Pressure Gauge | 0.35
Solenoid or Control Valve | 0.5
Trap Primer | 0.25
Trap Guard | 0.25
Wall Box (Ice Maker/Clothes Washer) | 1
Acid Neutralization Bin (undersink) | 1.5
Gas Turret | 0.5
Hose Reel | 2.5
Air Admittance Valve | 0.5
Air Admittance Valve w/ Box | 1.5
Dialysis Box | 1.5
Access Panel | 0.1
Roof Support (small) | 1
Roof Support (large) | 2
EQUIPMENT
Water Heater - 40 gallon | 3
Water Heater - 60 gallon | 4
Water Heater - 100 gallon | 8
Instantaneous Hot Water Heater @ Point of Use | 1
RPBP - 0.75"-1" | 1
RPBP - 2" | 2
RPBP - 2.5"-3" | 4
RPBP - 6"-4" | 8
Coffee Maker/Juice Maker BFP | 0.5
Ice Maker BFP | 0.75
Sump Pump w/ Oil Minder (Elevator) | 6
Sump Pump (Duplex) | 16
Sump Pit | 16
Water Softener | 16
Grease/Sand Oil Interceptor - 1500 gallon | 32
Grease/Sand Oil Interceptor - 2500 gallon | 32
Grease/Sand Oil Interceptor - 4000 gallon | 40
Point of use grease interceptor | 6-8
PRV - 1/2" | 0.25
PRV - 1" | 0.35
Master Mixing Valve | 4
TMV - 0.5-1" | 0.75
TMV - 1.5"-2" | 1.25
Main Building Water Meter | 4
Downstream Water Meter | 1
DI/RO Equipment | 40
Domestic Booster Pump | 16
Circulation Pump | 3
Air Compressor | 12
Domestic Expansion Tank (1-10 gallon) | 1.5
Domestic Expansion Tank (11+ gallon) | 4
MEDICAL GAS
MG Outlet | 0.35
Vacuum Slide | 0.15
Zone Valve Box (4 gas & less) | 1.5
Zone Valve Box (5-8 gases) | 3
Area Alarm Panel | 1
Master Alarm Panel | 1.25
Emergency Oxygen Connection | 1.5
Nitrogen Control Panel | 1
Med Gas Manifold | 4
Medical Vacuum Pump | 16
Medical Air Compressor | 16-24

## Alphabetical Order
U.S. Engineering Plumbing Fixture Labor Hours
FIXTURES
Acid Neutralization Bin (undersink) | 1.5
Bath Tub (tub only) | 3
Clinical Service Sink | 6
Dialysis Box | 1.5
Electric Water Cooler Dual | 6
Electric Water Cooler Dual w/ Bottle Filler | 5
Remote Condenser for Water Cooler | 4
Electric Water Cooler Single | 4
Emergency Eyewash | 1.5
Emergency Shower | 3
Floor Sink | 1.5
Garbage Disposal | 0.5
Gas Turret | 0.5
Hose Bibb | 1
Hose Reel | 2.5
Lavatory (Counter Mount) | 2.5
Lavatory (Wall Hung) | 2.5
Lavatory Carrier | 1
Lead Roof Flashing - 2", 3" | 1.25
Lead Roof Flashing - 4" | 1.5
Lead Roof Flashing - 5", 6" | 1.75
Mop Sink | 4
Recessed Emergency Shower | 4
Roof Hydrant/Yard Hydrant | 1.5
Service Sink (Floor) | 4
Service Sink w/ Trap | 4
Shower - Valves & Head Only | 1.25
Shower - Valves, Head & Base | 5
Add for ADA Shower | 1.75
Sink - Single Compartment (Counter Mount) | 2.5
Sink - Double Compartment (Counter Mount) | 2.75
Sink - Triple Compartment (Counter Mount) | 3
Urinal | 3
Urinal Carrier | 1.25
Wall Box (Ice Maker/Clothes Washer) | 1
Wall Hydrant | 1
Wash Fountain (Semi-circular) | 8
Water Closet w/ Bed Pan Wash | 2.5
Water Closets | 2.25
Single WC Carrier | 1.25
Double WC Carrier | 1.75
DRAINS & FCOs
Combination RD/OD | 2
Drain Flashing | 1.25
DSN - 2"-4" | 1
DSN - 6"-10" | 1.25
FCO/Grade Clean-out | 1
Floor Drain 2", 3", 4" | 1.25
Grade Clean-out w/ Concrete Pad | 2
Lead Roof Flashing - 2", 3" | 1.25
Lead Roof Flashing - 4" | 1.5
Lead Roof Flashing - 5", 6" | 1.75
Plaster Trap | 1.5
Roof Drains - 2", 3", 4" | 1.5
Roof Drains - 6", 8", 10" | 1.75
Trap Guard | 0.25
Trap Primer | 0.25
Trench Drain | 0.66/ft
VALVES & ACCESSORIES
Access Panel | 0.1
Air Admittance Valve | 0.5
Air Admittance Valve w/ Box | 1.5
Aquastat | 0.5
Pressure Gauge | 0.35
Relief Valves | 0.5
Roof Support (large) | 2
Roof Support (small) | 1
Shock Absorbers - 1" 2# | 0.38
Shock Absorbers - 1" 3# | 0.38
Shock Absorbers - 1" 4# | 0.38
Shock Absorbers - 3/4" 1# | 0.36
Solenoid or Control Valve | 0.5
Thermometer | 0.35
EQUIPMENT
Air Compressor | 12
Circulation Pump | 3
Coffee Maker/Juice Maker BFP | 0.5
DI/RO Equipment | 40
Domestic Booster Pump | 16
Domestic Expansion Tank (11+ gallon) | 4
Domestic Expansion Tank (1-10 gallon) | 1.5
Downstream Water Meter | 1
Grease/Sand Oil Interceptor - 1500 gallon | 32
Grease/Sand Oil Interceptor - 2500 gallon | 32
Grease/Sand Oil Interceptor - 4000 gallon | 40
Ice Maker BFP | 0.75
Instantaneous Hot Water Heater @ Point of Use | 1
Main Building Water Meter | 4
Master Mixing Valve | 4
Point of use grease interceptor | 6-8
PRV - 1" | 0.35
PRV - 1/2" | 0.25
RPBP - 3/4"-1" | 1
RPBP - 2" | 2
RPBP - 2-1/2"-3" | 4
RPBP - 4"-6" | 8
Sump Pit | 16
Sump Pump (Duplex) | 16
Sump Pump w/ Oil Minder (Elevator) | 6
TMV - 1/2"-1" | 0.75
TMV - 1-1/2"-2" | 1.25
Water Heater - 100 gallon | 8
Water Heater - 40 gallon | 3
Water Heater - 60 gallon | 4
Water Softener | 16
MEDICAL GAS
Area Alarm Panel | 1
Emergency Oxygen Connection | 1.5
Master Alarm Panel | 1.25
Med Gas Manifold | 4
Medical Air Compressor | 16-24
Medical Vacuum Pump | 16
MG Outlet | 0.35
Nitrogen Control Panel | 1
Vacuum Slide | 0.15
Zone Valve Box (4 gas & less) | 1.5
Zone Valve Box (5-8 gases) | 3